SECTION 07 21 19: FOAMED-IN-PLACE INSULATION

PART II - PRODUCTS

2.2 MISCELLANEOUS MATERIALS

1. Termination Angle For Spray Foam Insulation: Plastic angle fabricated from self-extinguishing PVC, 0.06” ( 1.524 mm ) thick
2. Jam-Ex® by EXO-TEC Manufacturing, Inc. [www.exo-tec.biz](http://www.exo-tec.biz)
3. Fasteners
4. Screw type fasteners for wood framing
	1. # 10 zinc plated round washer head steel wood screws conforming to ASTM C954 1.25” long
5. Screw type fastener for light gage metal framing
	1. # 10 zinc plated round washer head self-tapping steel screws conforming to ASTM C954 1.25” long
6. Adhesive
7. One part polyurethane sealant or adhesive material

PART III EXECUTION

3.3 MISCELLANEOUS MATERIALS

1. Wood framing
2. Fasten Jam-Ex® to wood framing with screw type fasteners at 12” o.c.
3. Light gage metal framing
4. Fasten Jam-Ex® to wood framing with screw type fasteners at 12” o.c.
5. CMU, concrete and precast
6. Adhere Jam-Ex by installing a continuous bed of sealant or adhesive to the Jam-Ex® and then pressing into place in its intended location.